## Sheet1
FROM SCREEN	JSON PAYLOAD	OPERATION	RESPONSE	JSON
55AA840F007B22415443456E61626C65223A317D061600	{"ATCEnable":1}	thermostat toggle to on
55aa840f007b22415443456e61626c65223a307d0786	{"ATCEnable":0}	thermostat toggle to off
55AA842B007B22415443456E61626C65223A302C224154434D6F6465223A302C2241544345787065637430223A32377D713800	{"ATCEnable":0,"ATCMode":0,"ATCExpect0":27}	thermostat
55AA840D007B224154434D6F6465223A317D8AC0	{"ATCMode":1}	switching thermostate modes	55AA840D007B224154434D6F6465223A317D8AC000	{"ATCMode":1}
55AA870B007B226572726F72223A307D550100	{"error":0}	response from screen
55AA000B007B226572726F72223A327DD3E600	{"error":2}	wrong command sent
55AA860B007B226572726F72223A337D553000	{"error":3}	when wrong command sent
55AA8621007B226964223A22363136343637363633323634376632613664353933636632227D8DED00	{"id":"6164676632647f2a6d593cf2"}	scene widget press, sends scene id
55AA873B007B226964223A2231303031333833323138222C227377697463686573223A5B7B226F75746C6574223A302C22737769746368223A226F6E227D5D7D3F54	{"id":"1001383218","switches":[{"outlet":0,"switch":"on"}]}	actuating switch	55AA8654007B226964223A2231303031333833323138222C22706172616D73223A7B22737769746368223A226F6E222C227377697463686573223A5B7B22737769746368223A226F6E222C226F75746C6574223A307D5D7D7D29B700	{"id":"1001383218","params":{"switch":"on","switches":[{"switch":"on","outlet":0}]}})
55AA873C007B226964223A2231303031333833323138222C227377697463686573223A5B7B226F75746C6574223A302C22737769746368223A226F6666227D5D7D2D2F	{"id":"1001383218","switches":[{"outlet":0,"switch":"off"}]}		55AA870B007B226572726F72223A307D550100	{"error":0}
	{"id":"1001383218","switches":[{"outlet":0,"switch":"off"},{"outlet":1,"switch":"on"}]}	can control both with single command
55AA862C007B226964223A2231303030663139306536222C22706172616D73223A7B22737769746368223A226F6E227D7DFC1700	{"id":"1000f190e6","params":{"switch":"on"}}	widget light toggle on
55AA8649007B226964223A2231303030663731623031222C22706172616D73223A7B226C74797065223A227768697465222C227768697465223A7B226272223A3130302C226374223A37347D7D7D75B500	{"id":"1000f71b01","params":{"ltype":"white","white":{"br":100,"ct":74}}}	moving brightness or ct slider
55AA8673007B226964223A2231303031333832613666222C22706172616D73223A7B22737769746368223A226F6E222C226C696768745F74797065223A312C22636F6C6F7252223A302C22636F6C6F7247223A382C22636F6C6F7242223A3234382C22627269676874223A34302C226D6F6465223A317D7DB7BD00	{"id":"1001382a6f","params":{"switch":"on","light_type":1,"colorR":0,"colorG":8,"colorB":248,"bright":40,"mode":1}}	using L1 color wheel
55AA8667007B226964223A2231303031333832613666222C22706172616D73223A7B226C696768745F74797065223A312C22636F6C6F7252223A3234382C22636F6C6F7247223A302C22636F6C6F7242223A3234302C22627269676874223A37302C226D6F6465223A317D7DAD7200	{"id":"1001382a6f","params":{"light_type":1,"colorR":248,"colorG":0,"colorB":240,"bright":70,"mode":1}}	using L1 brightness slider
55AA8439007B226374797065223A22646576696365222C226964223A2231303031333833323138222C227265736F7572636574797065223A22415443227D0098	{"ctype":"device","id":"1001383218","resourcetype":"ATC"}	when entering widgets in app
TX
55AA8017007B227175657279496E666F223A2276657273696F6E227D846C	{"queryInfo":"version"}	startup query string	55AA800B007B226572726F72223A307D53C60055AA8020007B226669726D77617265223A2276312E302E31222C226D6F64656C223A38367D795C00	{"error":0} and {"firmware":"v1.0.1","model":86}
55aa8017007b227175657279496e666f223a22666163746f7279227d7681	{"queryInfo":"factory"}		55AA8018007B2244794261636B6C69676874223A22656E61626C65227DFAEC00	{"DyBacklight":"enable"}
55AA8711007B22484D495F64696D4F70656E223A317DC140	{"HMI_dimOpen":0}
SSerialSend5 55aa8711007b22484d495f64696d4f70656e223a317dc0d0	{"HMI_dimOpen":1}
55AA830E007B2274656D70556E6974223A307D8B61	{"tempUnit":0}	set temperature unit (0 = C, 1 = F)
55AA830E007B2274656D70556E6974223A317D8AF1	{"tempUnit":1}
55AA873C007B226964223A2231303031333833323138222C227377697463686573223A5B7B226F75746C6574223A302C22737769746368223A226F6666227D5D7D2D2F	{"id":"1001383218","switches":[{"outlet":0,"switch":"off"}]}	left relay state on main page	55AA870B007B226572726F72223A307D550100	{"error":0}
55AA873B007B226964223A2231303031333833323138222C227377697463686573223A5B7B226F75746C6574223A302C22737769746368223A226F6E227D5D7D3F54	{"id":"1001383218","switches":[{"outlet":0,"switch":"on"}]}	left relay state on main page	55AA870B007B226572726F72223A307D550100	{"error":0}
55AA873C007B226964223A2231303031333833323138222C227377697463686573223A5B7B226F75746C6574223A312C22737769746368223A226F6666227D5D7D10D3	{"id":"1001383218","switches":[{"outlet":1,"switch":"off"}]}	right relay state on main page	55AA870B007B226572726F72223A307D550100	{"error":0}
55AA873B007B226964223A2231303031333833323138222C227377697463686573223A5B7B226F75746C6574223A312C22737769746368223A226F6E227D5D7D6EA8	{"id":"1001383218","switches":[{"outlet":1,"switch":"on"}]}	right relay state on main page	55AA870B007B226572726F72223A307D550100	{"error":0}
55AA8527007B22776966695374617465223A226E6F6E6574776F726B222C22727373694C6576656C223A347D635B	{"wifiState":"nonetwork","rssiLevel":4}	wifi state and signal strength – sent every second
	{"wifiState":"disconnect","rssiLevel":0}	looks equal to nonetwork
	{"wifiState":"connecting","rssiLevel":0}	looks equal to nonetwork
55AA8527007B22776966695374617465223A22636F6E6E6563746564222C22727373694C6576656C223A347DE18C	{"wifiState":"connected","rssiLevel":4}	connecting; disconnect; pairing; nonetwork;RssiLevel 0-4, if using higher number other picture resources get drawn
	{"wifiState":"pairing","rssiLevel":4}	shows pairing screen
55AA852F00227B5C227769666953746174655C223A5C22636F6E6E6563746564
55AA 82 37 00 7B2279656172223A313937302C226D6F6E223A312C22646179223A312C22686F7572223A322C226D696E223A302C227765656B223A347D3152	{"year":1970,"mon":1,"day":1,"hour":2,"min":0,"week":4}	time/date setting
55AA823B007B2279656172223A323032312C226D6F6E223A31302C22646179223A31322C22686F7572223A32332C226D696E223A32322C227765656B223A327DD28D	{"year":2021,"mon":10,"day":12,"hour":23,"min":22,"week":2}
55AA 83 2D 00 7B2274656D7065726174757265223A32322C2268756D6964697479223A35302C2274656D70556E6974223A307DFAD3	{"temperature":22,"humidity":50,"tempUnit":0}	probe temperature set, humidity is always 50, temperature can be up to 5 digits, temp unit gets overwritten when using all 5
55AA844F007B22484D495F415443446576696365223A7B226374797065223A22646576696365222C226964223A2231303031333833323138222C226F75746C6574223A302C226574797065223A22686F74227D7DD324	{"HMI_ATCDevice":{"ctype":"device","id":"1001383218","outlet":0,"etype":"hot"}}	set thermostat and type (cold/hot)	55AA8439007B226374797065223A22646576696365222C226964223A2231303031333833323138222C227265736F7572636574797065223A22415443227D009800	{"ctype":"device","id":"1001383218","resourcetype":"ATC"}
55AA864D007B22484D495F7265736F7572636573223A5B7B22696E646578223A312C226374797065223A22646576696365222C226964223A2231303030663731623031222C2275696964223A3130337D5D7D9099	{"HMI_resources":[{"index":1,"ctype":"device","id":"1000f71b01","uiid":103}]}	id=ewelink app Device ID; uiid seems to correspond to the type of device (103=CCT bulb, 107 = toggle switch horizontal, 112 = toggle switch vertical, 137= RGB light strip)
55AA864D007B22484D495F7265736F7572636573223A5B7B22696E646578223A322C226374797065223A22646576696365222C226964223A2231303030663139306536222C2275696964223A3130337D5D7D1063	{"HMI_resources":[{"index":2,"ctype":"device","id":"1000f190e6","uiid":103}]}
55AA864D007B22484D495F7265736F7572636573223A5B7B22696E646578223A332C226374797065223A22646576696365222C226964223A2231303031333832613666222C2275696964223A3133377D5D7DAACF	{"HMI_resources":[{"index":3,"ctype":"device","id":"1001382a6f","uiid":137}]}
55AA864F007B22484D495F7265736F7572636573223A5B7B22696E646578223A342C226374797065223A227363656E65222C226964223A22363136343637363633323634376632613664353933636632227D5D7DC996	{"HMI_resources":[{"index":4,"ctype":"scene","id":"6164676632647f2a6d593cf2"}]}
55AA86A3007B2272656C6174696F6E223A5B7B226374797065223A22646576696365222C226964223A2231303031333833323138222C226E616D65223A224E5350616E652E2E222C226F6E6C696E65223A747275652C22706172616D73223A7B227377697463686573223A5B7B22737769746368223A226F6666222C226F75746C6574223A307D2C7B22737769746368223A226F6666222C226F75746C6574223A317D5D7D7D5D7D1874	{"relation":[{"ctype":"device","id":"1001383218","name":"NSPane..","online":true,"params":{"switches":[{"switch":"off","outlet":0},{"switch":"off","outlet":1}]}}]}

55AA86A3007B2272656C6174696F6E223A5B7B226374797065223A22646576696365222C226964223A2231303031333833323138222C226E616D65223A224E5350616E652E2E222C226F6E6C696E65223A747275652C22706172616D73223A7B227377697463686573223A5B7B22737769746368223A226F6666222C226F75746C6574223A307D2C7B22737769746368223A226F6666222C226F75746C6574223A317D5D7D7D5D7D1874	{"relation":[{"ctype":"device","id":"1001383218","name":"NSPane..","online":true,"params":{"switches":[{"switch":"off","outlet":0},{"switch":"off","outlet":1}]}}]}
55AA8698007b2272656c6174696f6e223a5b7b226374797065223a22646576696365222c226964223a2231303030663731623031222c226e616d65223a2242756c6220532e2e222c226f6e6c696e65223a747275652c22706172616d73223a7b22737769746368223a226f6e222c226c74797065223a227768697465222c227768697465223a7b226272223a3130302c226374223a3235357d7d7d5d7d01d4	{"relation":[{"ctype":"device","id":"1000f71b01","name":"Bulb S..","online":true,"params":{"switch":"on","ltype":"white","white":{"br":100,"ct":255}}}]}	define ct bulb widget	ALL 8 COMMANDS NEED TO BE SENT OR THE SCREEN WILL STOP ACCEPTING SWIPE INPUTS
55AA8697007B2272656C6174696F6E223A5B7B226374797065223A22646576696365222C226964223A2231303030663139306536222C226E616D65223A2242756C6220412E2E222C226F6E6C696E65223A747275652C22706172616D73223A7B22737769746368223A226F6666222C226C74797065223A227768697465222C227768697465223A7B226272223A34322C226374223A39367D7D7D5D7D86EB	{"relation":[{"ctype":"device","id":"1000f190e6","name":"Bulb A..","online":true,"params":{"switch":"off","ltype":"white","white":{"br":42,"ct":96}}}]}	define ct bulb widget
55AA86AF007b2272656c6174696f6e223a5b7b226374797065223a22646576696365222c226964223a2231303031333832613666222c226e616d65223a224c32222c226f6e6c696e65223a747275652c22706172616d73223a7b22737769746368223a226f6e222c22636f6c6f7252223a3234382c22636f6c6f7247223a302c22636f6c6f7242223a3234302c226d6f6465223a312c22627269676874223a34302c226c696768745f74797065223a317d7d5d7d29f9	{"relation":[{"ctype":"device","id":"1001382a6f","name":"L2","online":true,"params":{"switch":"on","colorR":248,"colorG":0,"colorB":240,"mode":1,"bright":40,"light_type":1}}]}	define light strip widget
55AA864F007B2272656C6174696F6E223A5B7B226374797065223A227363656E65222C226964223A22363136343637363633323634376632613664353933636632222C226E616D65223A225363656E65227D5D7D7EC7	{"relation":[{"ctype":"scene","id":"6164676632647f2a6d593cf2","name":"Scene"}]}	define scene widget
55AA861B007B22696E646578223A342C2274797065223A2264656C657465227D514F	{"index":4,"type":"delete"}	delete widget
55AA861B007B22696E646578223A352C2274797065223A2264656C657465227D00B3	{"index":5,"type":"delete"}	delete widget
55AA861B007B22696E646578223A362C2274797065223A2264656C657465227DF0F7	{"index":6,"type":"delete"}	delete widget
55AA861B007B22696E646578223A372C2274797065223A2264656C657465227DA10B	{"index":7,"type":"delete"}	delete widget
55AA861B007B22696E646578223A382C2274797065223A2264656C657465227D921C	{"index":8,"type":"delete"}	delete widget
	{"relation":[{"ctype":"device","id":"1","name":"Bulb","online":true,"params":{"switch":"on"}}]}	uuid 112 – toggle switch
	{"relation":[{"ctype":"device","id":"1","name":"Bulb S..","online":true,"params":{"switch":"on","ltype":"color}}]}
55AA842B007B22415443456E61626C65223A302C224154434D6F6465223A302C2241544345787065637430223A32377D7138	{"ATCEnable":0,"ATCMode":0,"ATCExpect0":27}
55AA841D007B224154434D6F6465223A302C2241544345787065637430223A32397D45BD	{"ATCMode":0,"ATCExpect0":29}	thermostat change temp	55AA841D007B224154434D6F6465223A302C2241544345787065637430223A32397D45BD00	{"ATCMode":0,"ATCExpect0":29}
55AA8527007B22776966695374617465223A22636F6E6E6563746564222C22727373694C6576656C223A347DE18C	{"params":{"ATCExpect1":28.5}}
55AA840F007B22415443456E61626C65223A317D061600	{"ATCEnable":1}	turn on thermostat
55aa840f007b22415443456e61626c65223a307d0786	{"ATCEnable":0}	turn off thermostat

55AA869A007B2272656C6174696F6E223A5B7B226374797065223A22646576696365222C226964223A2231303030663731623031222C22706172616D73223A7B22737769746368223A226F6666222C226C74797065223A227768697465222C227768697465223A7B226272223A3130302C226374223A3235357D7D2C226E616D65223A2242756C6220532E2E222C226F6E6C696E65223A66616C73657D5D7D0E5B	{"relation":[{"ctype":"device","id":"1000f71b01","params":{"switch":"off","ltype":"white","white":{"br":100,"ct":255}},"name":"Bulb S..","online":false}]}
55AA8697007B2272656C6174696F6E223A5B7B226374797065223A22646576696365222C226964223A2231303030663139306536222C22706172616D73223A7B22737769746368223A226F6666222C226C74797065223A227768697465222C227768697465223A7B226272223A34322C226374223A39367D7D2C226E616D65223A2242756C6220412E2E222C226F6E6C696E65223A747275657D5D7D41B9	{"relation":[{"ctype":"device","id":"1000f190e6","params":{"switch":"off","ltype":"white","white":{"br":42,"ct":96}},"name":"Bulb A..","online":true}]}
55AA864F007B2272656C6174696F6E223A5B7B226374797065223A227363656E65222C226964223A22363136343637363633323634376632613664353933636632222C226E616D65223A225363656E65227D5D7D7EC7	{"relation":[{"ctype":"scene","id":"6164676632647f2a6d593cf2","name":"Scene"}]}
55AA86A2007B2272656C6174696F6E223A5B7B226374797065223A22646576696365222C226964223A2231303031333833323138222C22706172616D73223A7B227377697463686573223A5B7B22737769746368223A226F6E222C226F75746C6574223A307D2C7B22737769746368223A226F6666222C226F75746C6574223A317D5D7D2C226E616D65223A224E5350616E652E2E222C226F6E6C696E65223A747275657D5D7D8447	{"relation":[{"ctype":"device","id":"1001383218","params":{"switches":[{"switch":"on","outlet":0},{"switch":"off","outlet":1}]},"name":"NSPane..","online":true}]}

55AA844F007B22484D495F415443446576696365223A7B226374797065223A22646576696365222C226964223A2231303031333833323138222C226F75746C6574223A302C226574797065223A22686F74227D7DD324	{"HMI_ATCDevice":{"ctype":"device","id":"1001383218","outlet":0,"etype":"hot"}}
55aa8450007b22484d495f415443446576696365223a7b226374797065223a22646576696365222c226964223a2231303031333833323138222c226f75746c6574223a312c226574797065223a22636f6c64227d7d54aa	{"HMI_ATCDevice":{"ctype":"device","id":"1001383218","outlet":0,"etype":"hot"}}
Creating widgets sequence
55AA864D007B22484D495F7265736F7572636573223A5B7B22696E646578223A312C226374797065223A22646576696365222C226964223A2231303030663139306536222C2275696964223A3130337D5D7D2745	{"HMI_resources":[{"index":1,"ctype":"device","id":"1000f190e6","uiid":103}]}	ctype can be device or group, group is available to open even when offline
55AA864D007B22484D495F7265736F7572636573223A5B7B22696E646578223A322C226374797065223A22646576696365222C226964223A2231303031333832613666222C2275696964223A3133377D5D7D4612	{"HMI_resources":[{"index":2,"ctype":"device","id":"1001382a6f","uiid":137}]}
55AA864D007B22484D495F7265736F7572636573223A5B7B22696E646578223A332C226374797065223A22646576696365222C226964223A2231303030663731623031222C2275696964223A3130337D5D7D4B62	{"HMI_resources":[{"index":3,"ctype":"device","id":"1000f71b01","uiid":103}]}
55AA8439007B226374797065223A22646576696365222C226964223A2231303031333833323138222C227265736F7572636574797065223A22415443227D0098	{"ctype":"device","id":"1001383218","resourcetype":"ATC"}
55AA864F007B22484D495F7265736F7572636573223A5B7B22696E646578223A342C226374797065223A227363656E65222C226964223A22363136343637363633323634376632613664353933636632227D5D7DC996	{"HMI_resources":[{"index":4,"ctype":"scene","id":"6164676632647f2a6d593cf2"}]}
55AA861B007B22696E646578223A352C2274797065223A2264656C657465227D00B3	{"index":5,"type":"delete"}
55AA861B007B22696E646578223A362C2274797065223A2264656C657465227DF0F7	{"index":6,"type":"delete"}
55AA861B007B22696E646578223A372C2274797065223A2264656C657465227DA10B	{"index":7,"type":"delete"}
55AA861B007B22696E646578223A382C2274797065223A2264656C657465227D921C	{"index":8,"type":"delete"}
55AA8697007B2272656C6174696F6E223A5B7B226374797065223A22646576696365222C226964223A2231303030663139306536222C22706172616D73223A7B22737769746368223A226F6666222C226C74797065223A227768697465222C227768697465223A7B226272223A34322C226374223A39367D7D2C226E616D65223A2242756C6220412E2E222C226F6E6C696E65223A747275657D5D7D41B9	{"relation":[{"ctype":"device","id":"1000f190e6","params":{"switch":"off","ltype":"white","white":{"br":42,"ct":96}},"name":"Bulb A..","online":true}]}
55AA86B1007B2272656C6174696F6E223A5B7B226374797065223A22646576696365222C226964223A2231303031333832613666222C22706172616D73223A7B22737769746368223A226F6666222C22636F6C6F7252223A3234382C22636F6C6F7247223A302C22636F6C6F7242223A3234302C226D6F6465223A312C22627269676874223A34302C226C696768745F74797065223A317D2C226E616D65223A224C32222C226F6E6C696E65223A66616C73657D5D7DD57E	{"relation":[{"ctype":"device","id":"1001382a6f","params":{"switch":"off","colorR":248,"colorG":0,"colorB":240,"mode":1,"bright":40,"light_type":1},"name":"L2","online":false}]}
55AA869A007B2272656C6174696F6E223A5B7B226374797065223A22646576696365222C226964223A2231303030663731623031222C22706172616D73223A7B22737769746368223A226F6666222C226C74797065223A227768697465222C227768697465223A7B226272223A3130302C226374223A3235357D7D2C226E616D65223A2242756C6220532E2E222C226F6E6C696E65223A66616C73657D5D7D0E5B	{"relation":[{"ctype":"device","id":"1000f71b01","params":{"switch":"off","ltype":"white","white":{"br":100,"ct":255}},"name":"Bulb S..","online":false}]}
55AA864F007B2272656C6174696F6E223A5B7B226374797065223A227363656E65222C226964223A22363136343637363633323634376632613664353933636632222C226E616D65223A225363656E65227D5D7D7EC7	{"relation":[{"ctype":"scene","id":"6164676632647f2a6d593cf2","name":"Scene"}]}
55AA86A2007B2272656C6174696F6E223A5B7B226374797065223A22646576696365222C226964223A2231303031333833323138222C22706172616D73223A7B227377697463686573223A5B7B22737769746368223A226F6E222C226F75746C6574223A307D2C7B22737769746368223A226F6666222C226F75746C6574223A317D5D7D2C226E616D65223A224E5350616E652E2E222C226F6E6C696E65223A747275657D5D7D8447	{"relation":[{"ctype":"device","id":"1001383218","params":{"switches":[{"switch":"on","outlet":0},{"switch":"off","outlet":1}]},"name":"NSPane..","online":true}]}

55AA8143007B22484D495F77656174686572223A33362C22484D495F6F7574646F6F7254656D70223A7B2263757272656E74223A32362C2272616E6765223A2232302C3336227D7D799E	{"HMI_weather":36,"HMI_outdoorTemp":{"current":26,"range":"20,36"}}	change location, current
55AA8140007B22484D495F77656174686572223A372C22484D495F6F7574646F6F7254656D70223A7B2263757272656E74223A352C2272616E6765223A222D332C38227D7D3452	{"HMI_weather":7,"HMI_outdoorTemp":{"current":5,"range":"-3,8"}}	HMI_weather: icons?	1	sunny
55AA8140007B22484D495F77656174686572223A33382C22484D495F6F7574646F6F7254656D70223A7B2263757272656E74223A382C2272616E6765223A22362C39227D7D5E91	{"HMI_weather":38,"HMI_outdoorTemp":{"current":8,"range":"6,9"}}	outdoor temp up to 5 digits, 5th overwrites temp unit	2	sun+cloud
		range goes up to 5 digits	20	cloud+snowflake
			22	Cloud + 3 snowflakes
			22	Cloud + 5 ice crystals
			22	Cloud + rain + snow
			7	cloud+blue cloud
			30	red thermostat
			31	blue thermostat
			32	wind
			40	rainy cloud
			11	windy cloud
			15	cloud rain lightning